## Slide 1: Development of Laboratory Module for a Small Wind Turbine System (Phase V)
Slide 1 of 13
Team members: Adam Literski, Achila Jayasuriya, Eurydice Ulysses, Josephine Namatovu, Logeshwar Sampathkumar, Liaochao Song
Client / Advisor: Dr. Venkataramana Ajjarapu
MAY1329

## Slide 2: Project Goals
Develop a small wind turbine system in a laboratory environment
Serve as an educational tool for independent or class purposes
Use Digital implementation of power electronics using simulations on
MATLAB ASMG and
Code Composer Studio
MAY1329
Slide 2 of 13

## Slide 3: Project Deliverables
Project documentation user manual
  Step-by-step operation instructions
In-depth schematics and wiring diagrams
Final Project Plan & Design Document
Slide 3 of 13
MAY1329

## Slide 4: Phase IV System
Old system:
Induction motor has 1.5 Hp
  Motor frequency controlled with a Variable
  Frequency Drive
  NIDAQ Control Source
NI LabVIEW user interface
Issues:
  Buck boost IGBT burning out
  System functioning not complete
Slide 4 of 13
Figure 2:
Phase IV System
MAY1329
Figure 1:
Variable Frequency Drive

## Slide 5: Current System
Slide 5 of 13
MAY1329
Old system:
New motor run by TI drive kit
  TI Control Suite user interface
  Revised buck boost converter
Figure 3:
Phase V System
  Arduino for voltage comparison
  Voltage sensors in the system
Picture of Entire System!!!

## Slide 6: Overall System
Slide 6 of 13
Figure 4: Overall System
MAY1329

## Slide 7: Motor And Generator
Insert GUI of the Motor
Figure 6: EMJ-04APB22 Motor coupled
with Permanent Magnet Generator
Figure 5: TMDSHVMTRPFCKIT
Slide 7 of 13
MAY1329
Signal sent from the TI kit to run the motor

## Slide 8: Three – Phase Rectifier
Slide 8 of 13
Figure 7: Three-Phase Rectifier in ASMG
Figure 4: Rectifier Simulation Output
Calculation
MAY1329

## Slide 9: Voltage Comparator
Figure 8: Comparator schematic
Slide 9 of 13

## Slide 10: Pulse Width Modulation
Slide 10 of 13
MAY1329
Figure 9: ControlCARD
Using a ControlCARD, the duty cycle of the Buck /Boost converter is easily monitored
Figure 11: Graphical User Interface
Figure 10: Pulse Width Modulated Signal

## Slide 11: Buck / Boost Converter
Figure 12: Buck/Boost schematic &
simulation results
Slide 11 of 13
Duty cycle = 70% (boost system)
Duty cycle = 20% (buck system)
Input voltage = 12V
Depending on Duty Cycle Variable output

## Slide 12: Test Plan
Test system stability for various input voltages
Test system for a standard runtime
Battery backup implementation
Address three cases:
  Power Generation > Load
  Power Generation = Load
  Power Generation < Load
Dissipate excess power generation
Slide 12 of 13
MAY1329

## Slide 13: Challenges Encountered And Solutions
Challenges:
Unavailability of Variable Frequency Drive
Relevant knowledge base
Discrepancy in old schematics
Solutions:
Motor replacement
Relevant knowledge base from EE 452 (Power Electronics & Drives) labs
Revision of the old system
Slide 13 of 13
MAY1329

## Slide 14: Demo
INSERT VIDEO HERE!!

## Slide 15: Questions
May 1329: Development of a Small Wind Turbine System
Client / Advisor: Dr. Venkataramana Ajjarapu